## Slide 1
Coupling
Main line loss
Return Loss
Return Loss
Magnitude (dB)
Red lines are lower limit values in Datasheet.
There is a slight difference between the S11 and S22 of these data and the plots in the datasheet.

## Slide 2
Phase (deg)

## Slide 3
VNA
DUT
PORT 1
PORT 2
Output (2)
Coupled (3)
Input (1)
Isolated (4)
50
dl_loss_db
amp_gain_db